## Slide 1: CapacityToActivityUnit
The unit of measure for Energy in OSeMOSYS always has to be PJ.
CapacityToActivityUnit: it is a parameter in OSeMOSYS that is used as conversion factor relating the energy that would be produced when one unit of capacity (= 1 GW) is fully used in one year (24h * 365 days = 8760 h per year).
It is used to convert data related to the Capacity of a technology (e.g. installed capacity of a power plant [GW]) into the Activity it can generate, i.e. a certain amount of energy given to the system (to be reported in [PJ]).
1 [GWh] = 0.0036 [PJ] Conversion factor
1 [GW] * 8760 [h per year] = 8760 [GWh per year] Activity in one year
8760 [GWh per year] * 0.0036 [PJ/GWh] = 31.536 [PJ per year] CapacityToActivityUnit